## Slide 1
ILLUSTRATIVE FLAGSHIP REPORT
Global Data Center Colocation
& AI-Ready Infrastructure
Market, Sourcing and Supplier Strategy | Global | 2026 to 2035
Illustrative report | August 2026
Market sizing | Supplier assessment | Sourcing strategy
SCULTRA SERVICES
GLOBAL DATA CENTER COLOCATION & AI-READY INFRASTRUCTURE
01
Notes: Illustrative SCULTRA report. Market sizes are scenario-model outputs, not third-party forecasts. Validate time-sensitive claims before external publication.
[Sources]
- SCULTRA analysis. No external source used.
[/Sources]
[QC2 Validation] Reviewed 14 August 2026. Observed facts are source-backed. Third-party forecasts remain estimates. SCULTRA scenarios, scores and recommendations remain analytical judgment. [/QC2 Validation]

## Slide 2
EXECUTIVE SUMMARY
Secure power-and-delivery certainty, not generic floor space
Five findings connect demand, capacity scarcity, supplier choice and contract design.
Sources:
IEA | CBRE | Uptime Institute | SCULTRA model
SCULTRA SERVICES
GLOBAL DATA CENTER COLOCATION & AI-READY INFRASTRUCTURE
02
01
Demand
IEA electricity scenarios imply about 64 GW of incremental IT load in the 2035 base case.
02
Scarcity
Vacancy is near frictional levels in several major metros, and power delivery is the bottleneck.
03
Technology
AI racks raise density toward 60 to 130 kW and make liquid cooling a contract requirement.
04
Economics
A 50 MW block can represent about $1.9 billion over ten years before escalation and services.
05
Sourcing
Use phased blocks, paired metros, anchor volume plus options and milestone-linked remedies.
Decision: buy verifiable energized capacity and expansion rights, not a broad promise of future white space.
Notes: Illustrative SCULTRA report. Market sizes are scenario-model outputs, not third-party forecasts. Validate time-sensitive claims before external publication.
[Sources]
- https://www.iea.org/reports/energy-and-ai/executive-summary%C2%A0
- https://www.cbre.com/insights/reports/global-data-center-trends-2026
- https://datacenter.uptimeinstitute.com/rs/711-RIA-145/images/2025.Annual.Survey.Report.pdf?version=0
[/Sources]
[QC2 Validation] Reviewed 14 August 2026. Observed facts are source-backed. Third-party forecasts remain estimates. SCULTRA scenarios, scores and recommendations remain analytical judgment. SCULTRA calculation: (1,200 TWh minus 415 TWh) divided by 8,760 hours and divided by approximately 1.4 PUE equals 63.7 GW incremental IT load. Applying 35%, 60% and 75% filters gives 10.0 GW. [/QC2 Validation] [Sources] - https://www.iea.org/reports/energy-and-ai/energy-demand-from-ai - https://www.cbre.com/insights/reports/global-data-center-trends-2026 [/Sources]

## Slide 3
EXECUTIVE NUMBERS
The base case supports 10 GW of commissioned AI-ready capacity by 2035
A transparent scenario model implies about $181 billion of cumulative buyer spend from 2026 to 2035.
Sources:
IEA | CBRE | Uptime Institute | SCULTRA model
SCULTRA SERVICES
GLOBAL DATA CENTER COLOCATION & AI-READY INFRASTRUCTURE
03
64 GW
incremental IT load
IEA-aligned base envelope
13.4 GW
serviceable AI-ready pool
after third-party and density filters
10.0 GW
commissioned by 2035
base execution scenario
$181bn
cumulative buyer spend
2026 to 2035 base case
Primary levers
Third-party share
35%
AI-density share
60%
Execution rate
75%
2035 rent
$256/kW/mo
These are scenario outputs, not a third-party forecast. The companion workbook exposes every assumption and formula.
Notes: Illustrative SCULTRA report. Market sizes are scenario-model outputs, not third-party forecasts. Validate time-sensitive claims before external publication.
[Sources]
- https://www.iea.org/reports/energy-and-ai/energy-demand-from-ai
- https://www.cbre.com/insights/reports/global-data-center-trends-2026
- https://datacenter.uptimeinstitute.com/rs/711-RIA-145/images/2025.Annual.Survey.Report.pdf?version=0
[/Sources]
[QC2 Validation] Reviewed 14 August 2026. Observed facts are source-backed. Third-party forecasts remain estimates. SCULTRA scenarios, scores and recommendations remain analytical judgment. [/QC2 Validation]

## Slide 4
REPORT GUIDE
Contents
A decision-oriented path from demand and capacity to suppliers and sourcing strategy.
Sources:
SCULTRA analysis
SCULTRA SERVICES
GLOBAL DATA CENTER COLOCATION & AI-READY INFRASTRUCTURE
04
01
Market Definition & Demand
Power, density, buyer segments and delivery constraints
Slides 5 to 17
02
Market Sizing & Forecast
Capacity funnel, scenarios, regional mix and spend
Slides 18 to 28
03
Supplier & Delivery Ecosystem
Provider models, evidence, policy and risk allocation
Slides 29 to 39
04
Sourcing Strategy
Award architecture, differentiated terms and 90-day sprint
Slides 40 to 44
The storyline moves from opportunity definition to market size, then tests whether suppliers and contracts can deliver it.
Notes: Illustrative SCULTRA report. Market sizes are scenario-model outputs, not third-party forecasts. Validate time-sensitive claims before external publication.
[Sources]
- SCULTRA analysis. No external source used.
[/Sources]
[QC2 Validation] Reviewed 14 August 2026. Observed facts are source-backed. Third-party forecasts remain estimates. SCULTRA scenarios, scores and recommendations remain analytical judgment. [/QC2 Validation]

## Slide 5
01
Market Definition & Demand
What counts as AI-ready colocation, why demand is accelerating and what constrains delivery.
SCULTRA REPORT SERIES
SCULTRA SERVICES
GLOBAL DATA CENTER COLOCATION & AI-READY INFRASTRUCTURE
05
Notes: Illustrative SCULTRA report. Market sizes are scenario-model outputs, not third-party forecasts. Validate time-sensitive claims before external publication.
[Sources]
- SCULTRA analysis. No external source used.
[/Sources]
[QC2 Validation] Reviewed 14 August 2026. Observed facts are source-backed. Third-party forecasts remain estimates. SCULTRA scenarios, scores and recommendations remain analytical judgment. [/QC2 Validation]

## Slide 6
MARKET DEFINITION
AI-ready colocation is an energized-capacity product, not a real-estate product
This report includes retail, wholesale, powered shell and build-to-suit capacity, but excludes cloud compute and hardware revenue.
Sources:
SCULTRA market definition
SCULTRA SERVICES
GLOBAL DATA CENTER COLOCATION & AI-READY INFRASTRUCTURE
06
IN SCOPE
Retail colocation
Wholesale suites
Powered shell
Build-to-suit capacity
Network and operational services
ANALYTICAL CORE
Energized IT MW
Rack density readiness
Commissioned delivery date
Rent plus power pass-through
Expansion options
OUT OF SCOPE
Cloud compute revenue
Servers and accelerators
Software and model spend
Captive facility capex
Real-estate value alone
Unit of analysis: delivered critical IT power with agreed density, cooling, resilience and service levels.
Notes: Illustrative SCULTRA report. Market sizes are scenario-model outputs, not third-party forecasts. Validate time-sensitive claims before external publication.
[Sources]
- SCULTRA analysis. No external source used.
[/Sources]
[QC2 Validation] Reviewed 14 August 2026. Observed facts are source-backed. Third-party forecasts remain estimates. SCULTRA scenarios, scores and recommendations remain analytical judgment. [/QC2 Validation]

## Slide 7
DEMAND CONTEXT
AI, cloud, sovereignty and resilience are converging on the same constrained asset
Demand is expanding while grids, substations, land and cooling systems set the delivery pace.
Sources:
IEA | EU | CBRE
SCULTRA SERVICES
GLOBAL DATA CENTER COLOCATION & AI-READY INFRASTRUCTURE
07
1
AI DEMAND
Rack-scale training and inference add concentrated demand.
STRUCTURAL
2
CLOUD SCALE
Platform growth continues outside captive estates.
COMPOUNDING
3
SOVEREIGNTY
Data location and control requirements favor regional capacity.
REGULATORY
4
RESILIENCE
Metro-pair architectures expand duplicate capacity needs.
NON-DISCRETIONARY
All four forces point to the same asset: power-secured, high-density, networked capacity with a credible delivery date.
Notes: Illustrative SCULTRA report. Market sizes are scenario-model outputs, not third-party forecasts. Validate time-sensitive claims before external publication.
[Sources]
- https://www.iea.org/reports/energy-and-ai/executive-summary%C2%A0
- https://energy.ec.europa.eu/topics/energy-efficiency/energy-efficiency-targets-directive-and-rules/energy-efficiency-directive/energy-performance-data-centres_en
- https://www.cbre.com/insights/reports/global-data-center-trends-2026
[/Sources]
[QC2 Validation] Reviewed 14 August 2026. Observed facts are source-backed. Third-party forecasts remain estimates. SCULTRA scenarios, scores and recommendations remain analytical judgment. SCULTRA calculation: (1,200 TWh minus 415 TWh) divided by 8,760 hours and divided by approximately 1.4 PUE equals 63.7 GW incremental IT load. Applying 35%, 60% and 75% filters gives 10.0 GW. [/QC2 Validation] [Sources] - https://www.iea.org/reports/energy-and-ai/energy-demand-from-ai - https://www.cbre.com/insights/reports/global-data-center-trends-2026 [/Sources]

## Slide 8
POWER BASELINE
Data-center electricity demand could nearly triple by 2035
IEA scenarios span about 700 to 1,700 TWh in 2035, versus 415 TWh in 2024.
Sources:
IEA, Energy and AI
SCULTRA SERVICES
GLOBAL DATA CENTER COLOCATION & AI-READY INFRASTRUCTURE
08
Global data-center electricity demand
415 TWh
2024
700 TWh
2035 headwinds
1,200 TWh
2035 base
1,700 TWh
2035 lift-off
IEA BASE CASE
945 TWh
by 2030
1,200 TWh
by 2035
AI is the main growth driver, but all facility types contribute.
Power planning is now a demand forecast, location strategy and sourcing decision in one.
Notes: Illustrative SCULTRA report. Market sizes are scenario-model outputs, not third-party forecasts. Validate time-sensitive claims before external publication.
[Sources]
- https://www.iea.org/reports/energy-and-ai/executive-summary%C2%A0
- https://www.iea.org/reports/energy-and-ai/energy-demand-from-ai
[/Sources]
[QC2 Validation] Reviewed 14 August 2026. Observed facts are source-backed. Third-party forecasts remain estimates. SCULTRA scenarios, scores and recommendations remain analytical judgment. SCULTRA calculation: (1,200 TWh minus 415 TWh) divided by 8,760 hours and divided by approximately 1.4 PUE equals 63.7 GW incremental IT load. Applying 35%, 60% and 75% filters gives 10.0 GW. [/QC2 Validation] [Sources] - https://www.iea.org/reports/energy-and-ai/energy-demand-from-ai - https://www.cbre.com/insights/reports/global-data-center-trends-2026 [/Sources]

## Slide 9
CAPACITY FUNNEL
Only a fraction of incremental IT load becomes executable third-party AI-ready capacity
The serviceable market narrows through colocation, density and delivery filters.
Sources:
IEA | Uptime Institute | SCULTRA model
SCULTRA SERVICES
GLOBAL DATA CENTER COLOCATION & AI-READY INFRASTRUCTURE
09
63.7 GW
Incremental IT load
22.3 GW
Third-party share
13.4 GW
AI-ready serviceable
10.0 GW
Commissioned base
The base funnel applies 35% third-party share, 60% AI-density fit and 75% execution to the incremental load envelope.
Notes: Illustrative SCULTRA report. Market sizes are scenario-model outputs, not third-party forecasts. Validate time-sensitive claims before external publication.
[Sources]
- https://www.iea.org/reports/energy-and-ai/executive-summary%C2%A0
- https://datacenter.uptimeinstitute.com/rs/711-RIA-145/images/2025.Annual.Survey.Report.pdf?version=0
[/Sources]
[QC2 Validation] Reviewed 14 August 2026. Observed facts are source-backed. Third-party forecasts remain estimates. SCULTRA scenarios, scores and recommendations remain analytical judgment. SCULTRA calculation: (1,200 TWh minus 415 TWh) divided by 8,760 hours and divided by approximately 1.4 PUE equals 63.7 GW incremental IT load. Applying 35%, 60% and 75% filters gives 10.0 GW. [/QC2 Validation] [Sources] - https://www.iea.org/reports/energy-and-ai/energy-demand-from-ai - https://www.cbre.com/insights/reports/global-data-center-trends-2026 [/Sources]

## Slide 10
RACK DENSITY
AI training changes rack power by an order of magnitude
Conventional enterprise racks sit near 5 to 15 kW; rack-scale AI systems can approach 120 kW.
Sources:
Uptime Institute | NVIDIA
SCULTRA SERVICES
GLOBAL DATA CENTER COLOCATION & AI-READY INFRASTRUCTURE
10
Enterprise
5 to 15 kW/rack
Air cooling
Cloud
15 to 30 kW/rack
Optimized air or hybrid
HPC / mixed AI
30 to 60 kW/rack
Liquid-assisted
AI training
60 to 130+ kW/rack
Direct liquid cooling
NVIDIA lists approximately 120 kW rack power for a GB200 NVL72 system.
A facility designed for average enterprise density cannot be assumed to support rack-scale AI, even when total MW is available.
Notes: Illustrative SCULTRA report. Market sizes are scenario-model outputs, not third-party forecasts. Validate time-sensitive claims before external publication.
[Sources]
- https://datacenter.uptimeinstitute.com/rs/711-RIA-145/images/2025.Annual.Survey.Report.pdf?version=0
- https://docs.nvidia.com/dgx/dgxgb200-user-guide/hardware.html
[/Sources]
[QC2 Validation] Reviewed 14 August 2026. Observed facts are source-backed. Third-party forecasts remain estimates. SCULTRA scenarios, scores and recommendations remain analytical judgment. SCULTRA calculation: (1,200 TWh minus 415 TWh) divided by 8,760 hours and divided by approximately 1.4 PUE equals 63.7 GW incremental IT load. Applying 35%, 60% and 75% filters gives 10.0 GW. [/QC2 Validation] [Sources] - https://www.iea.org/reports/energy-and-ai/energy-demand-from-ai - https://www.cbre.com/insights/reports/global-data-center-trends-2026 [/Sources]

## Slide 11
FACILITY READINESS
Power, cooling and network readiness must mature together
A site can be power-secured yet still fail AI deployment because liquid cooling, redundancy or commissioning evidence lags.
Sources:
Uptime Institute | NVIDIA | SCULTRA
SCULTRA SERVICES
GLOBAL DATA CENTER COLOCATION & AI-READY INFRASTRUCTURE
11
Tier 1
Power reserved
Utility study or reservation
Concept only
Tier 2
Power secured
Executed connection pathway
Cooling design frozen
Tier 3
Build ready
Permits and equipment allocated
Factory and site tests defined
Tier 4
AI operational
Energized and commissioned
Density and SLA evidence
Bid evaluation should score evidence maturity, not simply count announced megawatts.
Notes: Illustrative SCULTRA report. Market sizes are scenario-model outputs, not third-party forecasts. Validate time-sensitive claims before external publication.
[Sources]
- https://datacenter.uptimeinstitute.com/rs/711-RIA-145/images/2025.Annual.Survey.Report.pdf?version=0
- https://docs.nvidia.com/dgx/dgxgb200-user-guide/hardware.html
[/Sources]
[QC2 Validation] Reviewed 14 August 2026. Observed facts are source-backed. Third-party forecasts remain estimates. SCULTRA scenarios, scores and recommendations remain analytical judgment. SCULTRA calculation: (1,200 TWh minus 415 TWh) divided by 8,760 hours and divided by approximately 1.4 PUE equals 63.7 GW incremental IT load. Applying 35%, 60% and 75% filters gives 10.0 GW. [/QC2 Validation] [Sources] - https://www.iea.org/reports/energy-and-ai/energy-demand-from-ai - https://www.cbre.com/insights/reports/global-data-center-trends-2026 [/Sources]

## Slide 12
BUYER SEGMENTS
Four buyer groups need different capacity products
Hyperscalers value pipeline scale; neoclouds value speed and density; enterprises and sovereign buyers emphasize control and compliance.
Sources:
SCULTRA segmentation
SCULTRA SERVICES
GLOBAL DATA CENTER COLOCATION & AI-READY INFRASTRUCTURE
12
50%
Hyperscalers / cloud
Large repeatable blocks
Pipeline scale, network, options
25%
AI cloud / neocloud
Fast high-density clusters
Speed, liquid cooling, power quality
15%
Regulated enterprise
Regional controlled capacity
Compliance, resilience, service
10%
Sovereign / research
Dedicated strategic systems
Jurisdiction, control, transparency
One commercial package cannot optimize simultaneously for interconnection-rich retail and dedicated campus-scale AI.
Notes: Illustrative SCULTRA report. Market sizes are scenario-model outputs, not third-party forecasts. Validate time-sensitive claims before external publication.
[Sources]
- SCULTRA analysis. No external source used.
[/Sources]
[QC2 Validation] Reviewed 14 August 2026. Observed facts are source-backed. Third-party forecasts remain estimates. SCULTRA scenarios, scores and recommendations remain analytical judgment. SCULTRA calculation: (1,200 TWh minus 415 TWh) divided by 8,760 hours and divided by approximately 1.4 PUE equals 63.7 GW incremental IT load. Applying 35%, 60% and 75% filters gives 10.0 GW. [/QC2 Validation] [Sources] - https://www.iea.org/reports/energy-and-ai/energy-demand-from-ai - https://www.cbre.com/insights/reports/global-data-center-trends-2026 [/Sources]

## Slide 13
SUPPLY TIGHTNESS
Vacancy is already near frictional levels in several primary markets
Northern Virginia was 0.3% vacant and Singapore 2% in CBRE's 2026 comparison.
Sources:
CBRE Global Data Center Trends 2026
SCULTRA SERVICES
GLOBAL DATA CENTER COLOCATION & AI-READY INFRASTRUCTURE
13
Metro
Vacancy
Indicative rent
Buyer signal
Northern Virginia
0.3%
$190 to $235
Reserve early
Singapore
2.0%
$403 average
Scarcity premium
Frankfurt
5.0%
$235 to $265
Grid constrained
London
8.6%
$165 to $265
Selective options
Tokyo
6.0%
$280
Density premium
Sao Paulo
9.6%
$130 to $190
Regional growth
Low vacancy raises the cost of delay and reduces the value of a single-metro negotiation.
Notes: Illustrative SCULTRA report. Market sizes are scenario-model outputs, not third-party forecasts. Validate time-sensitive claims before external publication.
[Sources]
- https://www.cbre.com/insights/reports/global-data-center-trends-2026
[/Sources]
[QC2 Validation] Reviewed 14 August 2026. Observed facts are source-backed. Third-party forecasts remain estimates. SCULTRA scenarios, scores and recommendations remain analytical judgment. [/QC2 Validation]

## Slide 14
DELIVERY CONSTRAINTS
Grid lead times and equipment queues now dominate the critical path
Data centers can be built faster than transmission, substations and generation can be expanded.
Sources:
IEA | EirGrid | CBRE
SCULTRA SERVICES
GLOBAL DATA CENTER COLOCATION & AI-READY INFRASTRUCTURE
14
GRID CONNECTION
Transmission, generation and substation lead times exceed building schedules.
POWER EQUIPMENT
Transformers, switchgear and generators face allocation and testing queues.
COOLING READINESS
Liquid loops, heat rejection and water strategy must match the density roadmap.
LAND / PERMITS
Community, environmental and planning constraints can delay campus delivery.
NETWORK
Fiber diversity and cloud adjacency vary sharply by site.
OPERATIONS
Commissioning, spares and high-density procedures require specialized capability.
A building can complete on time and still miss the commercial date if utility or commissioning evidence is incomplete.
Notes: Illustrative SCULTRA report. Market sizes are scenario-model outputs, not third-party forecasts. Validate time-sensitive claims before external publication.
[Sources]
- https://www.iea.org/reports/energy-and-ai/energy-demand-from-ai
- https://www.eirgrid.ie/industry/becoming-customer/demand-connections
- https://www.cbre.com/insights/reports/global-data-center-trends-2026
[/Sources]
[QC2 Validation] Reviewed 14 August 2026. Observed facts are source-backed. Third-party forecasts remain estimates. SCULTRA scenarios, scores and recommendations remain analytical judgment. SCULTRA scenario: 50 MW at $225 per kW per month equals $135m annual rent. Power at $0.09 per kWh and full utilization equals about $39m annually before PUE adjustment and ancillary services. [/QC2 Validation] [Sources] - https://www.cbre.com/insights/reports/global-data-center-trends-2026 [/Sources]

## Slide 15
OCCUPANCY ECONOMICS
A 50 MW capacity block is a multi-billion-dollar commitment
At $225 per kW per month and $0.09 per kWh, rent and power approach $190 million per year before ancillary services.
Sources:
CBRE | SCULTRA illustrative economics
SCULTRA SERVICES
GLOBAL DATA CENTER COLOCATION & AI-READY INFRASTRUCTURE
15
Illustrative 50 MW annual economics
Colocation rent
$135m
Power pass-through
$55m
Ancillary services
$11m
About $201m annual spend
TEN-YEAR VIEW
$1.9bn
rent plus power
$225
per kW / month
$0.09
per kWh
Capacity options, pass-through rules and delivery remedies deserve the same rigor as the technical specification.
Notes: Illustrative SCULTRA report. Market sizes are scenario-model outputs, not third-party forecasts. Validate time-sensitive claims before external publication.
[Sources]
- https://www.cbre.com/insights/reports/global-data-center-trends-2026
[/Sources]
[QC2 Validation] Reviewed 14 August 2026. Observed facts are source-backed. Third-party forecasts remain estimates. SCULTRA scenarios, scores and recommendations remain analytical judgment. [/QC2 Validation]

## Slide 16
BANKABILITY
Six evidence gates separate a reservation from bankable capacity
Buyers need proof of grid position, land control, design maturity, equipment allocation, permits and acceptance criteria.
Sources:
Company disclosures | SCULTRA framework
SCULTRA SERVICES
GLOBAL DATA CENTER COLOCATION & AI-READY INFRASTRUCTURE
16
01
Power evidence
Executed utility pathway, milestones and curtailment terms.
02
Land control
Owned or contracted site with usable zoning and rights.
03
Design maturity
Density, redundancy, cooling and phasing frozen enough to price.
04
Equipment allocation
Named long-lead items, slots and substitution rules.
05
Permits
Planning, environmental and construction path with dependencies.
06
Acceptance tests
Energization, load bank, cooling and SLA tests linked to remedies.
A provider's balance sheet helps, but it does not replace site-level grid, permit and equipment evidence.
Notes: Illustrative SCULTRA report. Market sizes are scenario-model outputs, not third-party forecasts. Validate time-sensitive claims before external publication.
[Sources]
- https://investor.equinix.com/sec-filings/all-sec-filings/content/0001101239-26-000032/eqix-20251231.htm
- https://investor.digitalrealty.com/static-files/fae3263a-6189-4520-a7d0-822c5145b21b
- https://vantage-dc.com/news/vantage-data-centers-and-liberty-energy-announce-strategic-partnership-to-develop-and-operate-one-gigawatt-of-power-solutions-for-next-generation-data-centers/
- https://www.cyrusone.com/resources/press-releases/constellation-and-cyrusone-announce-agreement-to-support-new-data-center-facility-at-freestone-energy-center-in-texas?hs_amp=true
[/Sources]
[QC2 Validation] Reviewed 14 August 2026. Observed facts are source-backed. Third-party forecasts remain estimates. SCULTRA scenarios, scores and recommendations remain analytical judgment. [/QC2 Validation]

## Slide 17
SECTION SYNTHESIS
Scarcity transfers value from space to certainty
The winning product is a credible energized date, a density roadmap and enforceable expansion rights.
Sources:
SCULTRA synthesis
SCULTRA SERVICES
GLOBAL DATA CENTER COLOCATION & AI-READY INFRASTRUCTURE
17
DEMAND
Electricity and IT-load scenarios support a multi-decade capacity build.
SCARCITY
Power-secured delivery, not floor area, is the binding constraint.
TECHNOLOGY
Rack-scale AI requires an explicit liquid-cooling and density roadmap.
ECONOMICS
A single capacity block can create a multi-billion-dollar term commitment.
DECISION
Portfolio sourcing with phased options is stronger than one-provider concentration.
Market opportunity is real, but commercial value depends on turning announced pipeline into testable delivery certainty.
Notes: Illustrative SCULTRA report. Market sizes are scenario-model outputs, not third-party forecasts. Validate time-sensitive claims before external publication.
[Sources]
- https://www.iea.org/reports/energy-and-ai/executive-summary%C2%A0
- https://www.cbre.com/insights/reports/global-data-center-trends-2026
- https://datacenter.uptimeinstitute.com/rs/711-RIA-145/images/2025.Annual.Survey.Report.pdf?version=0
[/Sources]
[QC2 Validation] Reviewed 14 August 2026. Observed facts are source-backed. Third-party forecasts remain estimates. SCULTRA scenarios, scores and recommendations remain analytical judgment. [/QC2 Validation]

## Slide 18
02
Market Sizing & Forecast
A scenario model from electricity demand to delivered IT load, serviceable capacity and buyer spend.
SCULTRA REPORT SERIES
SCULTRA SERVICES
GLOBAL DATA CENTER COLOCATION & AI-READY INFRASTRUCTURE
18
Notes: Illustrative SCULTRA report. Market sizes are scenario-model outputs, not third-party forecasts. Validate time-sensitive claims before external publication.
[Sources]
- SCULTRA analysis. No external source used.
[/Sources]
[QC2 Validation] Reviewed 14 August 2026. Observed facts are source-backed. Third-party forecasts remain estimates. SCULTRA scenarios, scores and recommendations remain analytical judgment. [/QC2 Validation]

## Slide 19
SIZING METHOD
The model converts electricity demand into capacity, then applies commercial filters
Every output is tied to visible PUE, third-party share, AI-density share, execution and pricing assumptions.
Sources:
IEA | Uptime Institute | CBRE | SCULTRA model
SCULTRA SERVICES
GLOBAL DATA CENTER COLOCATION & AI-READY INFRASTRUCTURE
19
1
Electricity
IEA TWh scenarios
2
IT load
Apply PUE and hours
3
Incremental
Subtract 2024 baseline
4
Third party
Apply colocation share
5
AI-ready
Apply density share
6
Commissioned
Apply execution rate
Capacity is translated into rent, power and ancillary spend using a transparent annual price and PUE path.
Notes: Illustrative SCULTRA report. Market sizes are scenario-model outputs, not third-party forecasts. Validate time-sensitive claims before external publication.
[Sources]
- https://www.iea.org/reports/energy-and-ai/executive-summary%C2%A0
- https://datacenter.uptimeinstitute.com/rs/711-RIA-145/images/2025.Annual.Survey.Report.pdf?version=0
- https://www.cbre.com/insights/reports/global-data-center-trends-2026
[/Sources]
[QC2 Validation] Reviewed 14 August 2026. Observed facts are source-backed. Third-party forecasts remain estimates. SCULTRA scenarios, scores and recommendations remain analytical judgment. [/QC2 Validation]

## Slide 20
TECHNICAL ENVELOPE
The base case implies about 64 GW of incremental global IT load
This is a technical demand envelope before third-party and delivery filters, not a revenue forecast.
Sources:
IEA | Uptime Institute | SCULTRA calculation
SCULTRA SERVICES
GLOBAL DATA CENTER COLOCATION & AI-READY INFRASTRUCTURE
20
IT-load conversion
Metric
2024
2035 base
Change
Electricity demand
415 TWh
1,200 TWh
+785 TWh
Portfolio PUE
1.54
1.45
Model path
Implied IT load
30.8 GW
94.5 GW
+63.7 GW
TECHNICAL ENVELOPE
63.7 GW
incremental IT load
Before colocation, density and execution filters
The envelope measures workload demand. It is deliberately larger than the serviceable third-party market.
Notes: Illustrative SCULTRA report. Market sizes are scenario-model outputs, not third-party forecasts. Validate time-sensitive claims before external publication.
[Sources]
- https://www.iea.org/reports/energy-and-ai/energy-demand-from-ai
- https://datacenter.uptimeinstitute.com/rs/711-RIA-145/images/2025.Annual.Survey.Report.pdf?version=0
[/Sources]
[QC2 Validation] Reviewed 14 August 2026. Observed facts are source-backed. Third-party forecasts remain estimates. SCULTRA scenarios, scores and recommendations remain analytical judgment. [/QC2 Validation]

## Slide 21
SERVICEABLE MARKET
Commercial filters narrow 64 GW to 10 GW of commissioned AI-ready capacity
Third-party deployment, high-density fit and execution rates determine the investable pool.
Sources:
SCULTRA scenario model
SCULTRA SERVICES
GLOBAL DATA CENTER COLOCATION & AI-READY INFRASTRUCTURE
21
63.7 GW
Incremental IT load
22.3 GW
Third-party share
13.4 GW
AI-ready serviceable
10.0 GW
Commissioned base
The base funnel applies 35% third-party share, 60% AI-density fit and 75% execution to the incremental load envelope.
Notes: Illustrative SCULTRA report. Market sizes are scenario-model outputs, not third-party forecasts. Validate time-sensitive claims before external publication.
[Sources]
- https://www.iea.org/reports/energy-and-ai/executive-summary%C2%A0
- https://datacenter.uptimeinstitute.com/rs/711-RIA-145/images/2025.Annual.Survey.Report.pdf?version=0
[/Sources]
[QC2 Validation] Reviewed 14 August 2026. Observed facts are source-backed. Third-party forecasts remain estimates. SCULTRA scenarios, scores and recommendations remain analytical judgment. [/QC2 Validation]

## Slide 22
SCENARIO DESIGN
The 2035 commissioned range spans about 2 to 23 GW
Headwinds, base and lift-off cases vary demand, third-party use, AI density and delivery execution.
Sources:
IEA scenarios | SCULTRA filters
SCULTRA SERVICES
GLOBAL DATA CENTER COLOCATION & AI-READY INFRASTRUCTURE
22
HEADWINDS
1.9 GW
2035 commissioned
700 TWh
30% third party
40% AI density
65% execution
BASE
10.0 GW
2035 commissioned
1,200 TWh
35% third party
60% AI density
75% execution
LIFT-OFF
23.1 GW
2035 commissioned
1,700 TWh
40% third party
70% AI density
80% execution
The scenario range is driven by both underlying demand and the proportion that becomes executable third-party AI capacity.
Notes: Illustrative SCULTRA report. Market sizes are scenario-model outputs, not third-party forecasts. Validate time-sensitive claims before external publication.
[Sources]
- https://www.iea.org/reports/energy-and-ai/energy-demand-from-ai
[/Sources]
[QC2 Validation] Reviewed 14 August 2026. Observed facts are source-backed. Third-party forecasts remain estimates. SCULTRA scenarios, scores and recommendations remain analytical judgment. [/QC2 Validation]

## Slide 23
CAPACITY FORECAST
Base commissioned capacity rises to 10 GW by 2035
The ramp accelerates as energized campuses and liquid-cooling designs move from pipeline to operation.
Sources:
SCULTRA market model
SCULTRA SERVICES
GLOBAL DATA CENTER COLOCATION & AI-READY INFRASTRUCTURE
23
Base commissioned capacity, GW
0.4
2026
0.8
2027
1.3
2028
2.1
2029
3.1
2030
4.2
2031
5.5
2032
7.0
2033
8.5
2034
10.0
2035
10.0 GW
The curve assumes projects progress from powered land and reservations into commissioned, density-ready capacity.
Notes: Illustrative SCULTRA report. Market sizes are scenario-model outputs, not third-party forecasts. Validate time-sensitive claims before external publication.
[Sources]
- https://www.iea.org/reports/energy-and-ai/executive-summary%C2%A0
- https://www.cbre.com/insights/reports/global-data-center-trends-2026
[/Sources]
[QC2 Validation] Reviewed 14 August 2026. Observed facts are source-backed. Third-party forecasts remain estimates. SCULTRA scenarios, scores and recommendations remain analytical judgment. [/QC2 Validation]

## Slide 24
SPEND FORECAST
Annual buyer spend reaches about $44 billion in 2035
Base cumulative spend is about $181 billion across rent, power pass-through and ancillary services.
Sources:
CBRE | SCULTRA market model
SCULTRA SERVICES
GLOBAL DATA CENTER COLOCATION & AI-READY INFRASTRUCTURE
24
Annual buyer spend, $bn
$1.7
2026
$3.4
2027
$5.6
2028
$9.2
2029
$13.7
2030
$18.8
2031
$25.0
2032
$32.4
2033
$38.6
2034
$44.0
2035
CUMULATIVE
$181bn
2026 to 2035
Rent
$124bn
Power
$47bn
Ancillary
$10bn
Power pass-through is a material value pool, making efficiency and tariff mechanics central to total cost.
Notes: Illustrative SCULTRA report. Market sizes are scenario-model outputs, not third-party forecasts. Validate time-sensitive claims before external publication.
[Sources]
- https://www.cbre.com/insights/reports/global-data-center-trends-2026
[/Sources]
[QC2 Validation] Reviewed 14 August 2026. Observed facts are source-backed. Third-party forecasts remain estimates. SCULTRA scenarios, scores and recommendations remain analytical judgment. [/QC2 Validation]

## Slide 25
ANNUAL ADDITIONS
Annual additions approach 1.5 GW in the scale phase
The build curve requires repeatable campus delivery, not isolated projects.
Sources:
SCULTRA market model
SCULTRA SERVICES
GLOBAL DATA CENTER COLOCATION & AI-READY INFRASTRUCTURE
25
Annual commissioned additions, GW
0.4
2026
0.4
2027
0.5
2028
0.8
2029
1.0
2030
1.1
2031
1.3
2032
1.5
2033
1.5
2034
1.5
2035
Reaching the base case requires annual delivery at campus scale, supported by standardized designs and utility coordination.
Notes: Illustrative SCULTRA report. Market sizes are scenario-model outputs, not third-party forecasts. Validate time-sensitive claims before external publication.
[Sources]
- SCULTRA analysis. No external source used.
[/Sources]
[QC2 Validation] Reviewed 14 August 2026. Observed facts are source-backed. Third-party forecasts remain estimates. SCULTRA scenarios, scores and recommendations remain analytical judgment. [/QC2 Validation]

## Slide 26
SENSITIVITY
Execution and third-party adoption create the widest outcome range
Capacity becomes less sensitive to rent than to power-secured delivery and workload placement choices.
Sources:
SCULTRA sensitivity model
SCULTRA SERVICES
GLOBAL DATA CENTER COLOCATION & AI-READY INFRASTRUCTURE
26
2035 commissioned capacity, GW
25% third party
35% third party
45% third party
60% execution
4.3
6.0
7.8
75% execution
5.4
7.5
9.7
90% execution
6.5
9.0
11.7
DRIVER RANKING
1
Demand scenario
2
Third-party share
3
AI-density share
4
Execution rate
5
PUE path
Delivery execution and workload placement choices matter more to capacity than modest changes in contracted rent.
Notes: Illustrative SCULTRA report. Market sizes are scenario-model outputs, not third-party forecasts. Validate time-sensitive claims before external publication.
[Sources]
- https://www.iea.org/reports/energy-and-ai/executive-summary%C2%A0
- https://www.cbre.com/insights/reports/global-data-center-trends-2026
[/Sources]
[QC2 Validation] Reviewed 14 August 2026. Observed facts are source-backed. Third-party forecasts remain estimates. SCULTRA scenarios, scores and recommendations remain analytical judgment. [/QC2 Validation]

## Slide 27
REGIONAL MIX
North America remains the largest pool, while APAC carries the sharpest scarcity premiums
The base 10 GW mix allocates 43% to North America, 31% to APAC and 22% to Europe.
Sources:
CBRE | IEA | SCULTRA model
SCULTRA SERVICES
GLOBAL DATA CENTER COLOCATION & AI-READY INFRASTRUCTURE
27
North America
43% | 4.3 GW
APAC
31% | 3.1 GW
Europe
22% | 2.2 GW
LatAm + MEA
4% | 0.4 GW
Regional sourcing implication
North America
Deep hyperscale demand and very low vacancy in core markets
APAC
Singapore scarcity plus fast growth in Japan, Australia and Southeast Asia
Europe
Grid and sustainability constraints shape metro choice
LatAm + MEA
Selective growth around fiber, cloud and energy hubs
Regional allocation should follow workload, power and regulatory needs, while price discovery remains metro-specific.
Notes: Illustrative SCULTRA report. Market sizes are scenario-model outputs, not third-party forecasts. Validate time-sensitive claims before external publication.
[Sources]
- https://www.cbre.com/insights/reports/global-data-center-trends-2026
- https://www.iea.org/reports/energy-and-ai/executive-summary%C2%A0
[/Sources]
[QC2 Validation] Reviewed 14 August 2026. Observed facts are source-backed. Third-party forecasts remain estimates. SCULTRA scenarios, scores and recommendations remain analytical judgment. [/QC2 Validation]

## Slide 28
METRO PRIORITY
Winning metros combine power depth, delivery evidence, fiber and policy fit
Low vacancy alone does not make a market attractive if expansion rights or grid certainty are weak.
Sources:
CBRE | regulators | SCULTRA assessment
SCULTRA SERVICES
GLOBAL DATA CENTER COLOCATION & AI-READY INFRASTRUCTURE
28
Metro
Power depth
Speed
Network
Policy fit
Strategy
N. Virginia
3
2
5
3
Protect options
Dallas / Atlanta
5
4
4
4
Scale blocks
Frankfurt / London
3
2
5
4
Selective anchor
Nordics
5
3
3
5
Sustainable scale
Singapore / Johor
4
3
5
4
Dual-market plan
Tokyo / Osaka
3
3
5
4
Density premium
Sao Paulo
3
4
4
3
Regional option
Use a scoring screen to create a negotiation portfolio, then replace public indicators with site-level grid and delivery evidence.
Notes: Illustrative SCULTRA report. Market sizes are scenario-model outputs, not third-party forecasts. Validate time-sensitive claims before external publication.
[Sources]
- https://www.cbre.com/insights/reports/global-data-center-trends-2026
- https://www.imda.gov.sg/resources/press-releases-factsheets-and-speeches/factsheets/2025/launch-of-second-data-centre
- https://www.eirgrid.ie/industry/becoming-customer/demand-connections
- https://energy.ec.europa.eu/topics/energy-efficiency/energy-efficiency-targets-directive-and-rules/energy-efficiency-directive/energy-performance-data-centres_en
[/Sources]
[QC2 Validation] Reviewed 14 August 2026. Observed facts are source-backed. Third-party forecasts remain estimates. SCULTRA scenarios, scores and recommendations remain analytical judgment. [/QC2 Validation]

## Slide 29
03
Supplier & Delivery Ecosystem
Who controls powered land, interconnection, design, equipment, operations and commercial flexibility.
SCULTRA REPORT SERIES
SCULTRA SERVICES
GLOBAL DATA CENTER COLOCATION & AI-READY INFRASTRUCTURE
29
Notes: Illustrative SCULTRA report. Market sizes are scenario-model outputs, not third-party forecasts. Validate time-sensitive claims before external publication.
[Sources]
- SCULTRA analysis. No external source used.
[/Sources]
[QC2 Validation] Reviewed 14 August 2026. Observed facts are source-backed. Third-party forecasts remain estimates. SCULTRA scenarios, scores and recommendations remain analytical judgment. [/QC2 Validation]

## Slide 30
VALUE POOL
Power and delivery assurance capture more value than white-space construction
The commercial stack spans land and grid, campus development, MEP, cooling, network, operations and financing.
Sources:
Company disclosures | SCULTRA analysis
SCULTRA SERVICES
GLOBAL DATA CENTER COLOCATION & AI-READY INFRASTRUCTURE
30
1
LAND + GRID
Powered land, utility rights and permits
2
CAMPUS
Shell, phasing and construction
3
MEP
Electrical, cooling and controls
4
OPERATIONS
Commissioning, uptime and service
5
NETWORK
Interconnection and cloud adjacency
Scarcity raises the value of power control and execution evidence relative to commodity construction.
Notes: Illustrative SCULTRA report. Market sizes are scenario-model outputs, not third-party forecasts. Validate time-sensitive claims before external publication.
[Sources]
- https://investor.digitalrealty.com/static-files/fae3263a-6189-4520-a7d0-822c5145b21b
- https://investor.equinix.com/sec-filings/all-sec-filings/content/0001101239-26-000032/eqix-20251231.htm
- https://services.global.ntt/en-au/services-and-products/global-data-centers
[/Sources]
[QC2 Validation] Reviewed 14 August 2026. Observed facts are source-backed. Third-party forecasts remain estimates. SCULTRA scenarios, scores and recommendations remain analytical judgment. [/QC2 Validation]

## Slide 31
SUPPLIER ARCHETYPES
Supplier models range from interconnection-rich retail to dedicated hyperscale campuses
Buyer fit depends on footprint, density, speed, control and expansion scale.
Sources:
Official supplier disclosures | SCULTRA
SCULTRA SERVICES
GLOBAL DATA CENTER COLOCATION & AI-READY INFRASTRUCTURE
31
INTERCONNECTION PLATFORM
Equinix-type
Rich ecosystem and retail control
Best for network-dense and enterprise workloads
GLOBAL CAMPUS PLATFORM
Digital Realty / NTT
Broad footprint and large campus options
Best for multinational portfolios
HYPERSCALE SPECIALIST
QTS / Vantage / CyrusOne / STACK
Large dedicated blocks and custom designs
Best for rapid scale and control
REGIONAL SPECIALIST
DATA4 / Colt / AirTrunk / EdgeConneX
Focused power pipelines in selected regions
Best for constrained-market optionality
Archetype fit should precede provider ranking because the same supplier can be strong for one capacity product and weak for another.
Notes: Illustrative SCULTRA report. Market sizes are scenario-model outputs, not third-party forecasts. Validate time-sensitive claims before external publication.
[Sources]
- https://investor.equinix.com/sec-filings/all-sec-filings/content/0001101239-26-000032/eqix-20251231.htm
- https://investor.digitalrealty.com/static-files/fae3263a-6189-4520-a7d0-822c5145b21b
- https://services.global.ntt/en-au/services-and-products/global-data-centers
- https://vantage-dc.com/news/vantage-data-centers-and-liberty-energy-announce-strategic-partnership-to-develop-and-operate-one-gigawatt-of-power-solutions-for-next-generation-data-centers/
[/Sources]
[QC2 Validation] Reviewed 14 August 2026. Observed facts are source-backed. Third-party forecasts remain estimates. SCULTRA scenarios, scores and recommendations remain analytical judgment. [/QC2 Validation]

## Slide 32
SUPPLIER LANDSCAPE
A credible longlist spans global platforms and regional capacity specialists
The market includes Equinix, Digital Realty, NTT, QTS, Vantage, CyrusOne, STACK, EdgeConneX, DATA4, Colt and AirTrunk.
Sources:
Official company disclosures
SCULTRA SERVICES
GLOBAL DATA CENTER COLOCATION & AI-READY INFRASTRUCTURE
32
Supplier
Model
Footprint signal
AI-ready evidence
Best-fit role
Equinix
Interconnection platform
280 facilities
xScale and powered land
Network-rich anchor
Digital Realty
Global campus platform
300+ facilities
734 MW in build
Global campus anchor
NTT GDC
Global operator
160+ facilities
70 kW/rack or higher
Enterprise plus AI
Vantage / CyrusOne
Hyperscale specialists
Large regional campuses
Gigawatt power agreements
Dedicated blocks
STACK / EdgeConneX
Hyperscale specialists
US and APAC pipelines
200 to 500 MW campuses
Regional scale
DATA4 / Colt
European specialists
Focused campus networks
1 GW growth ambitions
Europe optionality
AirTrunk
APAC specialist
800+ MW committed
Large Johor pipeline
APAC anchor
Announced scale is a screening signal only. Site-level power, permits and commissioning evidence remain decisive.
Notes: Illustrative SCULTRA report. Market sizes are scenario-model outputs, not third-party forecasts. Validate time-sensitive claims before external publication.
[Sources]
- https://investor.equinix.com/sec-filings/all-sec-filings/content/0001101239-26-000032/eqix-20251231.htm
- https://investor.digitalrealty.com/static-files/fae3263a-6189-4520-a7d0-822c5145b21b
- https://services.global.ntt/en-au/services-and-products/global-data-centers
- https://vantage-dc.com/news/vantage-data-centers-and-liberty-energy-announce-strategic-partnership-to-develop-and-operate-one-gigawatt-of-power-solutions-for-next-generation-data-centers/
- https://www.cyrusone.com/resources/press-releases/constellation-and-cyrusone-announce-agreement-to-support-new-data-center-facility-at-freestone-energy-center-in-texas?hs_amp=true
- https://www.stackinfra.com/locations/americas/dallas-fort-worth/
- https://www.edgeconnex.com/news/press-releases/edgeconnex-commences-construction-of-200mw-ai-ready-hyperscale-campus-in-greater-osaka/
- https://www.data4group.com/en/
- https://www.coltdatacentres.net/fr-FR
- https://www.blackstone.com/news/press/blackstone-announces-agreement-to-acquire-airtrunk-in-a-a24b-transaction/
[/Sources]
[QC2 Validation] Reviewed 14 August 2026. Observed facts are source-backed. Third-party forecasts remain estimates. SCULTRA scenarios, scores and recommendations remain analytical judgment. [/QC2 Validation]

## Slide 33
CAPABILITY SCORECARD
No supplier leads every footprint, power, density and flexibility dimension
Portfolio sourcing is structurally stronger than relying on one global provider.
Sources:
Official disclosures | SCULTRA assessment
SCULTRA SERVICES
GLOBAL DATA CENTER COLOCATION & AI-READY INFRASTRUCTURE
33
Supplier
Footprint
Power
Density
Operations
Flexibility
Best fit
Equinix
Interconnection-led
Digital Realty
Global campus
NTT GDC
Enterprise plus AI
Vantage
Hyperscale blocks
CyrusOne
US hyperscale
STACK
Campus scale
AirTrunk
APAC scale
Scorecards should be recalculated by metro and capacity block. A global average masks site-level delivery risk.
Notes: Illustrative SCULTRA report. Market sizes are scenario-model outputs, not third-party forecasts. Validate time-sensitive claims before external publication.
[Sources]
- https://investor.equinix.com/sec-filings/all-sec-filings/content/0001101239-26-000032/eqix-20251231.htm
- https://investor.digitalrealty.com/static-files/fae3263a-6189-4520-a7d0-822c5145b21b
- https://services.global.ntt/en-au/services-and-products/global-data-centers
- https://vantage-dc.com/news/vantage-data-centers-and-liberty-energy-announce-strategic-partnership-to-develop-and-operate-one-gigawatt-of-power-solutions-for-next-generation-data-centers/
- https://www.stackinfra.com/locations/americas/dallas-fort-worth/
- https://www.data4group.com/en/
- https://www.blackstone.com/news/press/blackstone-announces-agreement-to-acquire-airtrunk-in-a-a24b-transaction/
[/Sources]
[QC2 Validation] Reviewed 14 August 2026. Observed facts are source-backed. Third-party forecasts remain estimates. SCULTRA scenarios, scores and recommendations remain analytical judgment. [/QC2 Validation]

## Slide 34
REFERENCE PIPELINE
Public pipelines show a shift from tens of megawatts to campus-scale gigawatts
Power-controlled land, large utility agreements and liquid-cooling capability are becoming competitive signals.
Sources:
Official supplier disclosures
SCULTRA SERVICES
GLOBAL DATA CENTER COLOCATION & AI-READY INFRASTRUCTURE
34
EQUINIX
1 GW
powered land controlled
52 active major projects across 35 metros
DIGITAL REALTY
734 MW
under construction, June 2025
5,000 MW buildable capacity
VANTAGE
1 GW
power partnership pathway
400 MW reservation for 2027
CYRUSONE
760 MW
two-phase Texas agreement
More than 1,100 MW under contract in Texas
STACK / EDGECONNEX
200 to 500 MW
campus examples
Dallas, Johor, Portland and Osaka pipelines
The competitive unit is increasingly a power-secured campus with phased delivery, not a single data hall.
Notes: Illustrative SCULTRA report. Market sizes are scenario-model outputs, not third-party forecasts. Validate time-sensitive claims before external publication.
[Sources]
- https://investor.equinix.com/sec-filings/all-sec-filings/content/0001101239-26-000032/eqix-20251231.htm
- https://investor.digitalrealty.com/static-files/fae3263a-6189-4520-a7d0-822c5145b21b
- https://vantage-dc.com/news/vantage-data-centers-and-liberty-energy-announce-strategic-partnership-to-develop-and-operate-one-gigawatt-of-power-solutions-for-next-generation-data-centers/
- https://www.cyrusone.com/resources/press-releases/constellation-and-cyrusone-announce-agreement-to-support-new-data-center-facility-at-freestone-energy-center-in-texas?hs_amp=true
- https://www.stackinfra.com/locations/americas/dallas-fort-worth/
- https://www.edgeconnex.com/news/press-releases/edgeconnex-commences-construction-of-200mw-ai-ready-hyperscale-campus-in-greater-osaka/
[/Sources]
[QC2 Validation] Reviewed 14 August 2026. Observed facts are source-backed. Third-party forecasts remain estimates. SCULTRA scenarios, scores and recommendations remain analytical judgment. [/QC2 Validation]

## Slide 35
POLICY & GRID
Regulators increasingly allocate capacity against system and sustainability outcomes
EU reporting, Singapore's capacity call and Ireland's connection policy make location strategy inseparable from compliance.
Sources:
EU | IMDA | EirGrid
SCULTRA SERVICES
GLOBAL DATA CENTER COLOCATION & AI-READY INFRASTRUCTURE
35
Capacity allocation is becoming conditional
1
EU
Reporting from 500 kW IT power
Energy, PUE, water, renewables and heat-reuse metrics
2
Singapore
At least 200 MW call
Sustainability and best-in-class IT efficiency conditions
3
Ireland
Revised connection pathway
Security of supply, constraints, renewables and carbon
BUYER RESPONSE
1
Capture reporting rights
2
Audit grid conditions
3
Model curtailment
4
Value heat and water
5
Preserve relocation rights
Policy risk should be addressed through data rights, efficiency baselines and flexible capacity options before award.
Notes: Illustrative SCULTRA report. Market sizes are scenario-model outputs, not third-party forecasts. Validate time-sensitive claims before external publication.
[Sources]
- https://energy.ec.europa.eu/topics/energy-efficiency/energy-efficiency-targets-directive-and-rules/energy-efficiency-directive/energy-performance-data-centres_en
- https://eur-lex.europa.eu/eli/reg/2024/1364/oj
- https://www.imda.gov.sg/resources/press-releases-factsheets-and-speeches/factsheets/2025/launch-of-second-data-centre
- https://www.eirgrid.ie/industry/becoming-customer/demand-connections
[/Sources]
[QC2 Validation] Reviewed 14 August 2026. Observed facts are source-backed. Third-party forecasts remain estimates. SCULTRA scenarios, scores and recommendations remain analytical judgment. [/QC2 Validation]

## Slide 36
SOURCING ROUTE
A portfolio award balances anchor scale with regional optionality
Use an anchor provider for baseline blocks, specialists for constrained metros and dual sourcing for critical workloads.
Sources:
SCULTRA sourcing framework
SCULTRA SERVICES
GLOBAL DATA CENTER COLOCATION & AI-READY INFRASTRUCTURE
36
SINGLE GLOBAL
One-provider portfolio
ADVANTAGE
Operational simplicity
WATCH-OUT
Concentration and site-level gaps
ANCHOR + OPTIONS
Global anchor plus regional specialists
ADVANTAGE
Scale, leverage and optionality
WATCH-OUT
Needs central governance
METRO-BY-METRO
Independent local awards
ADVANTAGE
Maximum local competition
WATCH-OUT
Fragmented terms and operations
CAPTIVE HYBRID
Colocation plus owned build
ADVANTAGE
Control for strategic workloads
WATCH-OUT
Capital and delivery burden
Recommended route: anchor volume with a global platform, retain specialist options in constrained and strategic metros.
Notes: Illustrative SCULTRA report. Market sizes are scenario-model outputs, not third-party forecasts. Validate time-sensitive claims before external publication.
[Sources]
- https://www.cbre.com/insights/reports/global-data-center-trends-2026
- https://investor.equinix.com/sec-filings/all-sec-filings/content/0001101239-26-000032/eqix-20251231.htm
- https://investor.digitalrealty.com/static-files/fae3263a-6189-4520-a7d0-822c5145b21b
[/Sources]
[QC2 Validation] Reviewed 14 August 2026. Observed facts are source-backed. Third-party forecasts remain estimates. SCULTRA scenarios, scores and recommendations remain analytical judgment. [/QC2 Validation]

## Slide 37
DELIVERY COALITION
A bankable deployment needs six parties working to one integrated milestone plan
Operator, utility, developer, MEP integrator, network provider and buyer operations must share evidence and escalation paths.
Sources:
SCULTRA delivery model
SCULTRA SERVICES
GLOBAL DATA CENTER COLOCATION & AI-READY INFRASTRUCTURE
37
1
BUYER
Demand plan, security and workload acceptance
2
OPERATOR
Site, design, construction, commissioning and SLA
3
UTILITY
Connection, capacity, constraints and milestones
4
MEP / OEM
Long-lead equipment, cooling and controls
5
NETWORK
Fiber diversity and cloud adjacency
Create one integrated evidence plan and escalation path across utility, operator, equipment and buyer teams.
Notes: Illustrative SCULTRA report. Market sizes are scenario-model outputs, not third-party forecasts. Validate time-sensitive claims before external publication.
[Sources]
- https://vantage-dc.com/news/vantage-data-centers-and-liberty-energy-announce-strategic-partnership-to-develop-and-operate-one-gigawatt-of-power-solutions-for-next-generation-data-centers/
- https://www.cyrusone.com/resources/press-releases/constellation-and-cyrusone-announce-agreement-to-support-new-data-center-facility-at-freestone-energy-center-in-texas?hs_amp=true
- https://www.stackinfra.com/locations/americas/dallas-fort-worth/
[/Sources]
[QC2 Validation] Reviewed 14 August 2026. Observed facts are source-backed. Third-party forecasts remain estimates. SCULTRA scenarios, scores and recommendations remain analytical judgment. [/QC2 Validation]

## Slide 38
BUYER JOURNEY
Commercial leverage is highest before the powered-land and design choices are fixed
Demand aggregation and option design should precede final metro and building commitments.
Sources:
SCULTRA sourcing framework
SCULTRA SERVICES
GLOBAL DATA CENTER COLOCATION & AI-READY INFRASTRUCTURE
38
1
AGGREGATE
Demand, density and dates
2 to 4 weeks
2
SCREEN
Metros, operators and power
3 to 6 weeks
3
DILIGENCE
Grid, design, permits and price
4 to 8 weeks
4
NEGOTIATE
Blocks, options, SLAs and remedies
4 to 10 weeks
5
COMMISSION
Tests, migration and acceptance
6 to 30 months
6
EXPAND
Exercise options and rebalance
Continuous
The buyer has most leverage before the operator commits the site, equipment and phasing assumptions.
Notes: Illustrative SCULTRA report. Market sizes are scenario-model outputs, not third-party forecasts. Validate time-sensitive claims before external publication.
[Sources]
- https://www.cbre.com/insights/reports/global-data-center-trends-2026
- https://www.iea.org/reports/energy-and-ai/executive-summary%C2%A0
[/Sources]
[QC2 Validation] Reviewed 14 August 2026. Observed facts are source-backed. Third-party forecasts remain estimates. SCULTRA scenarios, scores and recommendations remain analytical judgment. [/QC2 Validation]

## Slide 39
RISK ALLOCATION
Grid delay and density under-readiness belong in the contract, not the issue log
Tie payments, remedies and termination rights to energized capacity, cooling tests and commissioning milestones.
Sources:
SCULTRA risk assessment
SCULTRA SERVICES
GLOBAL DATA CENTER COLOCATION & AI-READY INFRASTRUCTURE
39
Risk
Impact
Likelihood
Contract and diligence response
Grid connection delay
High
High
Milestone evidence, longstop date and termination right
Density under-readiness
High
High
Rack and zone tests, liquid-loop specification and remedies
Equipment substitution
High
Medium
Named equipment, equivalent-performance rules and approval
Power price volatility
High
Medium
Transparent index, caps, audit and efficiency baseline
Capacity shortfall
High
Medium
Phased blocks, options and alternate-site rights
Water / policy constraint
Medium
Medium
Metrics, operating limits and design adaptation plan
Network concentration
Medium
Medium
Carrier diversity and route evidence
Commissioning failure
High
Low
Load-bank, cooling and integrated systems acceptance
Convert the top risks into evidence gates, acceptance tests and commercial remedies before capacity is treated as secured.
Notes: Illustrative SCULTRA report. Market sizes are scenario-model outputs, not third-party forecasts. Validate time-sensitive claims before external publication.
[Sources]
- https://datacenter.uptimeinstitute.com/rs/711-RIA-145/images/2025.Annual.Survey.Report.pdf?version=0
- https://www.eirgrid.ie/industry/becoming-customer/demand-connections
- https://docs.nvidia.com/dgx/dgxgb200-user-guide/hardware.html
[/Sources]
[QC2 Validation] Reviewed 14 August 2026. Observed facts are source-backed. Third-party forecasts remain estimates. SCULTRA scenarios, scores and recommendations remain analytical judgment. [/QC2 Validation]

## Slide 40
04
Sourcing Strategy
Where to source, how to structure the award and what to validate in the first 90 days.
SCULTRA REPORT SERIES
SCULTRA SERVICES
GLOBAL DATA CENTER COLOCATION & AI-READY INFRASTRUCTURE
40
Notes: Illustrative SCULTRA report. Market sizes are scenario-model outputs, not third-party forecasts. Validate time-sensitive claims before external publication.
[Sources]
- SCULTRA analysis. No external source used.
[/Sources]
[QC2 Validation] Reviewed 14 August 2026. Observed facts are source-backed. Third-party forecasts remain estimates. SCULTRA scenarios, scores and recommendations remain analytical judgment. [/QC2 Validation]

## Slide 41
WHERE TO PLAY
Start with phased 10 to 50 MW blocks across paired metros
This wedge balances scale, resilience, price discovery and the option to expand without overcommitting.
Sources:
SCULTRA strategy
SCULTRA SERVICES
GLOBAL DATA CENTER COLOCATION & AI-READY INFRASTRUCTURE
41
Capacity product
Typical block
Role
Strategic fit
Repeatability
Action
CORE ANCHOR
20 to 50 MW
Primary compute region
AWARD FIRST
RESILIENCE PAIR
10 to 30 MW
Paired secondary metro
AWARD FIRST
SCARCITY OPTION
5 to 20 MW
Singapore, Frankfurt, Tokyo
OPTION-LED
EMERGING CAMPUS
20 to 100 MW
Johor, Texas, Nordics
PHASED OPTION
Start with paired 10 to 50 MW blocks that create leverage, resilience and a credible pathway to scale.
Notes: Illustrative SCULTRA report. Market sizes are scenario-model outputs, not third-party forecasts. Validate time-sensitive claims before external publication.
[Sources]
- https://www.cbre.com/insights/reports/global-data-center-trends-2026
- https://www.iea.org/reports/energy-and-ai/executive-summary%C2%A0
[/Sources]
[QC2 Validation] Reviewed 14 August 2026. Observed facts are source-backed. Third-party forecasts remain estimates. SCULTRA scenarios, scores and recommendations remain analytical judgment. [/QC2 Validation]

## Slide 42
HOW TO WIN
Differentiate the contract through evidence, options and milestone accountability
The offer should specify power quality, density, cooling, interconnection, sustainability data and expansion rights.
Sources:
SCULTRA strategy
SCULTRA SERVICES
GLOBAL DATA CENTER COLOCATION & AI-READY INFRASTRUCTURE
42
01
Contract the energized date
Link payment, delay credits and termination to site-level evidence.
02
Reserve expansion rights
Price options and exercise windows before scarcity removes leverage.
03
Specify density by zone
Define rack, cooling-loop and power-quality acceptance criteria.
04
Control pass-throughs
Audit tariffs, losses, PUE, fees and renewable attributes.
05
Design metro pairs
Balance latency, regulation, resilience and supplier concentration.
06
Govern milestones
Use one evidence dashboard from utility connection through workload acceptance.
POSITIONING: verifiable power, density and delivery certainty with priced optionality
The strongest contract is specific enough to test and flexible enough to reallocate capacity when the market changes.
Notes: Illustrative SCULTRA report. Market sizes are scenario-model outputs, not third-party forecasts. Validate time-sensitive claims before external publication.
[Sources]
- https://datacenter.uptimeinstitute.com/rs/711-RIA-145/images/2025.Annual.Survey.Report.pdf?version=0
- https://energy.ec.europa.eu/topics/energy-efficiency/energy-efficiency-targets-directive-and-rules/energy-efficiency-directive/energy-performance-data-centres_en
- https://docs.nvidia.com/dgx/dgxgb200-user-guide/hardware.html
[/Sources]
[QC2 Validation] Reviewed 14 August 2026. Observed facts are source-backed. Third-party forecasts remain estimates. SCULTRA scenarios, scores and recommendations remain analytical judgment. [/QC2 Validation]

## Slide 43
90-DAY SPRINT
A 90-day sourcing sprint can convert demand into bankable shortlisted capacity
Aggregate demand, screen metros, audit supplier evidence, negotiate options and prepare a stage-gated award.
Sources:
SCULTRA recommended next steps
SCULTRA SERVICES
GLOBAL DATA CENTER COLOCATION & AI-READY INFRASTRUCTURE
43
DAYS 1 TO 30
Aggregate and screen
Confirm MW, density and date by workload
Create metro-pair options
Issue supplier evidence request
Build total-cost baseline
DAYS 31 TO 60
Diligence and negotiate
Audit grid, permits and equipment
Test liquid-cooling design
Negotiate blocks and options
Draft milestones and remedies
DAYS 61 TO 90
Select and govern
Complete scenario and risk review
Select anchor and specialist options
Approve stage-gated award
Launch milestone dashboard
The go decision should require named sites, comparable prices, grid evidence and executable expansion rights.
Notes: Illustrative SCULTRA report. Market sizes are scenario-model outputs, not third-party forecasts. Validate time-sensitive claims before external publication.
[Sources]
- SCULTRA analysis. No external source used.
[/Sources]
[QC2 Validation] Reviewed 14 August 2026. Observed facts are source-backed. Third-party forecasts remain estimates. SCULTRA scenarios, scores and recommendations remain analytical judgment. [/QC2 Validation]

## Slide 44
CLOSING
Treat capacity as a power-and-delivery contract
Use the editable model to replace public assumptions with buyer demand, supplier quotes, grid evidence and site milestones.
Sources:
Evidence base listed on this slide
SCULTRA SERVICES
GLOBAL DATA CENTER COLOCATION & AI-READY INFRASTRUCTURE
44
FINAL VIEW
Treat capacity as a power-and-delivery contract.
Demand is durable and supply is constrained, but announced megawatts are not equivalent to commissioned AI-ready capacity.
Recommended sourcing architecture
Phased 10 to 50 MW blocks, paired metros, anchor volume plus specialist options, with evidence-linked milestones and remedies.
Primary evidence base
1
IEA Energy and AI
2
CBRE Global Trends 2026
3
Uptime Institute Survey 2025
4
LBNL US energy update
5
EU, IMDA and EirGrid policy
6
Official supplier disclosures
7
SCULTRA capacity and spend model
Next step: replace public assumptions with buyer demand, operator quotes and site-level utility evidence, then run the 90-day sprint.
Notes: Illustrative SCULTRA report. Market sizes are scenario-model outputs, not third-party forecasts. Validate time-sensitive claims before external publication.
[Sources]
- https://www.iea.org/reports/energy-and-ai/executive-summary%C2%A0
- https://www.cbre.com/insights/reports/global-data-center-trends-2026
- https://datacenter.uptimeinstitute.com/rs/711-RIA-145/images/2025.Annual.Survey.Report.pdf?version=0
- https://eta-publications.lbl.gov/publications/united-states-data-center-energy-2025
- https://energy.ec.europa.eu/topics/energy-efficiency/energy-efficiency-targets-directive-and-rules/energy-efficiency-directive/energy-performance-data-centres_en
- https://www.imda.gov.sg/resources/press-releases-factsheets-and-speeches/factsheets/2025/launch-of-second-data-centre
- https://www.eirgrid.ie/industry/becoming-customer/demand-connections
- https://investor.equinix.com/sec-filings/all-sec-filings/content/0001101239-26-000032/eqix-20251231.htm
- https://investor.digitalrealty.com/static-files/fae3263a-6189-4520-a7d0-822c5145b21b
- https://services.global.ntt/en-au/services-and-products/global-data-centers
[/Sources]
[QC2 Validation] Reviewed 14 August 2026. Observed facts are source-backed. Third-party forecasts remain estimates. SCULTRA scenarios, scores and recommendations remain analytical judgment. [/QC2 Validation]